1. Inputs

- The app must let the user enter the respiration rate as a whole number.

- The app must let the user enter the SpO2 as a whole number.

- The app must let the user enter whether the patient is on supplemental oxygen as yes/no.

- The app must let the user enter the systolic blood pressure as a whole number.

- The app must let the user enter the pulse as a whole number.

- The app must let the user choose the consciousness level from a list (Alert / Confusion / Voice / Pain / Unresponsive).

- The app must let the user enter the temperature as a decimal (to 1 decimal place).

- The app must let the user choose which SpO2 scale to use (Scale 1 or Scale 2).

- The app must give each patient a unique ID stored as text (e.g. P001).

- The app must automatically record the date and time when observations are entered.

2. Validation

- The app must show an error message and ask again if the user enters text where a number is expected.

- The app must reject values outside a realistic physiological range and ask the user to re-enter them.

- The app must reject a pulse below 30 or above 220 bpm.

- The app must reject an SpO2 below 70% or above 100%.

- The app must reject a systolic blood pressure below 50 or above 250 mmHg.

- The app must reject a respiration rate below 4 or above 50 breaths/min.

- The app must reject a temperature below 28.0 or above 43.0 °C.

3. Scoring

- The app must score each parameter using the bands in RCP NEWS2 Chart 1.

- The app must display the score for each parameter and the total NEWS2 score.

- The app must use SpO2 Scale 1 by default, and Scale 2 only when selected.

- When Scale 2 is used, the app must score SpO2 differently depending on whether the patient is on air or oxygen.

4. Risk level

- The app must assign one of four clinical risk levels (Low, Low–medium, Medium, High) using RCP NEWS2 Chart 2.

- The app must check risk levels in order of severity (High, then Medium, then Low–medium, then Low) so the most serious level is always assigned.

- The app must assign Low–medium risk if any single parameter scores 3 and the total is 4 or less.

5. Patients and ward

- The app must store every set of observations for each patient, with the date and time.

- The app must show a ward view listing every patient with their latest score and risk level.

- The app must let the user add a new patient to the ward.

6. Saving and loading

- The app must save all patients and observations to a CSV file.

- The app must load saved data from the CSV file when it starts.

- If no CSV file exists, the app must start with an empty ward and create the file when data is first saved.

7. Output

- The app must display the recommended clinical response for the patient’s risk level, as given in RCP NEWS2 Chart 2.

- The app must display when the next set of observations is due, based on the RCP NEWS2 monitoring frequency guidance.

8. GUI

- The GUI must show each patient’s risk level as a clear text label (e.g. “HIGH RISK”).

- The GUI must sort the ward view so the highest-risk patients appear at the top.

- The GUI must display a graph of a selected patient’s NEWS2 score over time.

- The GUI must provide all the functionality of the text-based app.

Bonus: number them R1–R36. Later, your testing table can say “Test 5 checks R13”, which links your methodology to your implementation. Markers love that traceability.

REFERENCES

- A Multi-Agent Framework for Interpreting Multivariate Physiological Time Series (arXiv)

Respiratory rate remains the forgotten vital sign – Medicina Intensiva (2025)

Normal temperature range in medical inpatients (PMC)

| Patient | RR | SpO2 | Air/O2 | BP | Pulse | Consc. | Temp | Total | Risk |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| P001 | 18 (0) | 98 (0) | Air (0) | 120 (0) | 56 (0) | Alert (0) | 37.0 (0) | 0 | Low |
| P002 | 45 (3) | 90 (3) | O2 (2) | 180 (0) | 90 (0) | Unresp. (3) | 40.0 (2) | 13 | High |
| P003 | 18 (0) | 90 (3) | Air (0) | 120 (0) | 56 (0) | Alert (0) | 37.0 (0) | 3 | Low–medium |
| P004 | 22 (2) | 95 (1) | Air (0) | 105 (1) | 105 (1) | Alert (0) | 38.5 (1) | 6 | Medium |